## Summary
FINAL SUMMARY
AMOUNT
A | PRELIMINARIES
B | ALTERATIONS
C | BUILDING WORKS
D | PROVISIONAL SUMS
SUB TOTAL EXC VAT
E | DESIGN & MONITORING
F | CONTINGENCY |  | 13500000
Allow a sum of R 13 500 000.00 (Thirteen Million Five Hundred Thousand rand) for contingencies to be used at the client's descretion. To be deducted partly or in full by the client.
| SUB TOTAL EXC VAT |  | 0
| VAT 15% | 15% | 0
| FINAL AMOUNT CARRIED TO FORM OF OFFER AND ACCEPTANCE (inclusive of VAT) | R | 0

## C2.2.1 P&G
C2.2.1 : PRELIMINARY AND GENERAL
Item | Ref | Description | Unit | Qty | Rate | Contract Amount
R
NOTE:
Tenderers are referred to the Measurement and Payment Clause (Clause 8) of the SANS 1200 A (General) document for the full intent and meaning of each clause thereof, which are hereinafter referred to by clause number and heading only.
| 8.3 | FIXED CHARGE ITEMS
| 8.3.1 | Contractual Requirements:
1 | 8.3.1 | Contractual requirements | Sum | 1
| 8.3.2 | Establishment of Facilities on the Site:
| 8.3.2.1 | Facilities for Engineer/Employer's Agent:
2 | 8.3.2.1a | Furnished airconditioned offices (4 No.) | Sum | 1
3 | 8.3.2.1c | Nameboards | Sum | 1
| 8.3.2.2 | Facilities for Contractor:
4 | 8.3.2.2a | Offices and storage sheds | Sum | 1
5 | 8.3.2.2b | Workshops | Sum | 1
6 | 8.3.2.2c | Laboratories | Sum | 1
7 | 8.3.2.2d | Living accommodation | Sum | 1
8 | 8.3.2.2e | Ablution and latrine facilities | Sum | 1
9 | 8.3.2.2f | Tools and equipment | Sum | 1
10 | 8.3.2.2g | Water supplies, electric power and communications | Sum | 1
11 | 8.3.2.2h | Dealing with water | Sum | 1
12 | 8.3.2.2i | Access | Sum | 1
13 | 8.3.2.2j | Plant | Sum | 1
| 8.3.3 | Other Fixed Charge Obligations:
14 | 8.3.3 | Other fixed charge obligations | Sum | 1
| 8.3.4 | Removal of Site Establishment:
15 | 8.3.4 | Removal of site establishment | Sum | 1
| 8.4 | TIME RELATED ITEMS
| 8.4.1 | Contractual Requirements :
16 | 8.4.1 | Contractual requirements | Sum | 1
| 8.4.2 | Operation and Maintenance of Facilities on Site, for Duration of Construction, except where otherwise stated:
| 8.4.2.1 | Facilities for Engineer/Employer's Agent:
17 | 8.4.2.1a | Furnished airconditioned offices (4 No.) | Sum | 1
18 | 8.4.2.1c | Nameboards | Sum | 1
sub-total (carried forward)
sub-total (brought forward)
| 8.4.2.2 | Facilities for Contractor:
19 | 8.4.2.2a | Offices and storage sheds | Sum | 1
20 | 8.4.2.2b | Workshops | Sum | 1
21 | 8.4.2.2c | Laboratories | Sum | 1
22 | 8.4.2.2d | Living accommodation | Sum | 1
23 | 8.4.2.2e | Ablution and latrine facilities | Sum | 1
24 | 8.4.2.2f | Tools and equipment | Sum | 1
25 | 8.4.2.2g | Water supplies, electric power and communications | Sum | 1
26 | 8.4.2.2h | Dealing with water | Sum | 1
27 | 8.4.2.2i | Access | Sum | 1
28 | 8.4.2.2j | Plant | Sum | 1
| 8.4.3 | Supervision for Duration of Construction:
29 | 8.4.3 | Supervision for duration of construction | Sum | 1
| 8.4.4 | Company and Head Office Overhead Costs for the Duration of the Contract:
30 | 8.4.4 | Company and head office overhead costs for the duration of the contract | Sum | 1
| 8.4.5 | Other Time Related Obligations:
31 | 8.4.5 | Other time related obligations | Sum | 1
TEMPORARY WORKS
32 | 8.8.2 | Dealing with traffic | Sum | 1
33 | 8.8.3 | Protection of any exposed sections, etc. until construction in vicinity is complete | Sum | 1
OTHER
34 |  | Environment | Sum | 1
35 |  | Health and Safety | Sum | 1
TOTAL FOR C2.2.1 - PRELIMINARY & GENERAL (carried to Final Summary)
2500000

## Alterations
ITEM NO |  | UNIT | QUANTITY | RATE | AMOUNT
ACTIVITY 1
ALTERATIONS
SUPPLEMENTARY PREAMBLES
View site
Before submitting this tender the contractor shall visit the site and satisfy himself as to the nature and extent of the work to be done and the value of the materials contained in the buildings or portions of the buildings to be demolished. No claim for any variations of the contract sum in respect of the nature and extent of the work or of inferior or damaged materials will be entertained.
Removal of demolished works where described includes for carting away of rubble. The contractor is to include carting away within his rates
REMOVAL OF EXISTING WORK
Breaking down and removing brickwork etc
1 | Brick walls of various sizes, including doors and door frames and complete with making good floors | sum | 1 |  | 0
Taking down and removing roofs, floors, panelling, ceilings, partitions, etc
2 | Gypsum plasterboard ceilings, including cornices, etc | sum | 1 |  | 0
3 | Vinyl faced gypsum plasterboard suspended ceilings, including removal of HVAC units, ducting, light fittings, cabling, suspension grid, hangers, cornices, etc | sum | 1 |  | 0
4 | Drywall partitions of various heights, including glazing inserts, etc | sum | 1 |  | 0
Hacking up/off and removing tiles including removing mortar bed or adhesive from concrete or brickwork and preparing surfaces for new screed, plaster, tile finish, etc
5 | Tiles to floors | sum | 1 |  | 0
6 | Tiles to walls | sum | 1 |  | 0
Taking up and removing wood block floor coverings, vinyl floor coverings, carpets, etc and preparing screeds for new floor coverings
7 | Vinyl tile floor covering | sum | 1 |  | 0
8 | Carpet tile floor covering | sum | 1 |  | 0
Taking out and removing sundry work, fittings, etc
9 | Aluminium venetian blinds | sum | 1 |  | 0
10 | Toilet roll holders | sum | 1 |  | 0
11 | Soap dispensers | sum | 1 |  | 0
12 | Hand-dryers | sum | 1 |  | 0
Taking out and removing sundry work, fittings, etc, setting aside for re-use and later refixing in similar new position
13 | Surface mounted power skirting with switch socket outlets | sum | 1 |  | 0
Taking out/off and removing glass and mirrors
14 | Mirror 300 x 800mm high from wall | sum | 1 |  | 0
REMOVAL OF MECHANICAL WORK
Existing fire signage complete with all hangers and clips so that ceilings can be removed. Complete count of signs removed, and box for possible re-use purposes. The items removed to be handed over to Building manager for safekeeping
15 | Remove existing installed fire signs | sum | 1 |  | 0
Existing sprinkler installation. ASIB approved sprinkler installer to make safe the sprinklers, and removed sprinkler heads so the ceiling can be removed.
16 | Issue required notification to the Local Fire Department of possible changes to the installed sprinkler system, including written notification to the insurers of the building. | Item | 1 |  | 0
Isolate the sprinkler control valves on the 4th and 5th floors ensuring that there is no water supply from the mains piping.
17 | On all floors | sum | 1 |  | 0
18 | The sprinkler protection system to the rest of the building to remain operational, contractor to check and confirm that all other valves are open and that the building is sprinkler protected. | Item | 1 |  | 0
Existing fire protection installation. SAQCC approved installer to remove space mounted fire extinguishers and hand over to building manager for future re-use purposes.
19 | 4,5 kg DCP, complete with backing boards on all floors | sum | 1 |  | 0
Existing HVAC installation - make safe and remove all ceiling mounted equipment and keep safe so the ceilings can be removed
Return air grilles 1200x600
20 | On all floors | sum | 1 |  | 0
Supply air diffusers, remove the aluminium diffusers confirm equipment count and record on issue slip then hand over to building manger to keep onsite for possible reuse purposes.
21 | On all floors | sum | 1 |  | 0
Existing BMS sensors mounted to the ceilings to be removed by the appointed controls BMS contractor Cape Automation Systems. The existing services to be coiled and mounted to the ceilings for possible reuse purposes
22 | BMS field equipment (Temperature sensors, etc) -on all floors | sum | 1 |  | 0
Existing Air conditioning units (cassette type) fitted to the ceiling of the office spaces to be removed by the SAQCC certified air conditioning contractor. The condition of the AC unit to be confirmed before any removal can take place.This must be properly documented for possible re-use purposes. Refrigerant to be de-gassed and units made electrically safe. All removed AC units to be handed over to the building manager for possible re-use purposes including the controllers (infrared or wired).
23 | On all floors | sum | 1 |  | 0
REMOVAL OF ELECTRICAL & ELECTRONIC WORK
Removal of existing electrical, electronic, comms & IT services complete as detailed in the Electrical Engineers scope and tender drawings
24 | Lump sum for removal of electrical, electronic, comms & IT services complete as detailed on the Electrical Engineers scope | sum | 1
ACTIVITY 2
BUDGETARY ALLOWANCES
25 | Budgetary Allowance of R60,000 (Sixty Thousand Rand) NET for Sundry Builders Works to be used as directed by the principal agent and deducted in whole or in part if not required | Item | 1 | 60000 | 60000
26 | Budgetary Allowance of R40,000 (Fourty Thousand Rand) NET for Removal of Mounted Fixings, white boards, etc. to be used as directed by the principal agent and deducted in whole or in part if not required | Item | 1 | 40000 | 40000
27 | Budgetary Allowance of R80,000 (Eighty Thousand Rand) NET for Servicing Existing Windows to be used as directed by the principal agent and deducted in whole or in part if not required | Item | 1 | 40000 | 40000
28 | Budgetary Allowance of R20,000 (Twenty Thousand Rand) NET for Fire Stopping to be used as directed by the principal agent and deducted in whole or in part if not required | Item | 1 | 20000 | 20000
29 | Budgetary Allowance of R20,000 (Twenty Thousand Rand) NET for Servicing Existing Fire Equipment to be used as directed by the principal agent and deducted in whole or in part if not required | Item | 1 | 20000 | 20000
30 | Budgetary Allowance of R400,000 (Four Hundred Thousand Rand) NET for the Removal, storage, transportation and handing over to client of existing furniture complete, to the client for storage, to be used as directed by the principal agent and deducted in whole or in part if not required | Item | 1 | 400000 | 400000
SECTION SUMMARY
1 | ACTIVITY 1: Alterations
2 | ACTIVITY 2:Budgetary Allowances
TOTAL CARRIED FOR FINAL SUMMARY

## Building wk
ITEM NO |  | UNIT | QUANTITY | RATE | AMOUNT
The Tenderer is referred to the Model Preambles for Trades. Supplementary Preambles included in this Trade shall take precedence over relevant clauses in the Model Preambles for Trades.
ACTIVITY NO. 1
WATERPROOFING
JOINT SEALANTS ETC.
Polysulphide sealing compound including backing cord, bond breaker, primer etc.
1 | Contractor to strip and repair joints between frames, walls and concrete, etc | sum | 1 |  | 0
Silicone sealing compound
2 | In joints between sanitary fittings and walls | sum | 1 |  | 0
ACTIVITY NO. 2
CARPENTRY
SKIRTINGS
Wrought meranti
1 | Supply and install skirting | sum | 1 |  | 0
SOLID TIMBER DOORS
Solid Timber doors hung to timber and or aluminium frames
2 | 40mm Door 813 x 2032mm high | sum | 1 |  | 0
3 | 40mm Double door 1700 x 2100mm with and including viewing panel | sum | 1 |  | 0
SINK CUPBOARDS
Cupboards and worktops built of 16mm thick melamine-faced mdf boards with impact-edging and 32mm thick formica clad mdf postformed water resistant tops and painted 3m hardboard backs and 200mm x 22mm satin sheen stainless steel handles as per architects drawings issued with these bills of quantities:
4 | Wall and floor cupboard 1800 x 300 470mm | sum | 1 |  | 0
ACTIVITY NO. 3
CEILINGS, PARTITIONS AND ACCESS FLOORING
CEILING CONSTRUCTION, CORNICE, ETC.
Powder coated cornice to suspended ceiling:
1 | 25 x 25mm Shadowline cornice | sum | 1 |  | 0
SUSPENDED CEILING
600 x 600 x 12.5mm "Gyprex White vinyl cladded tile" ceilingsystem on pre-painted exposed Gypframe D38FR tee suspension system including main and cross tees, necessary hangers, grids, holding down clips, etc.
2 | Suspended not exceeding 1000mm from concrete soffits" | sum | 1 |  | 0
600 x 600 x 16mm "Gyproc Fibrotone Pin Perforated mineralfibre tile" acoustic ceiling system on prepainted exposed Gypframe D38FR tee suspension system including main and cross tees, necessary hangers, grids, holding down clips, etc.
3 | Suspended not exceeding 1000mm from concrete soffits" | sum | 1 |  | 0
600 x 600 x 12mm "Isover Minerval A stonewool tile" acoustic ceiling system on prepainted exposed Gypframe D38FR tee suspension system including main and cross tees, necessary hangers, grids, holding down clips, etc.
4 | Suspended not exceeding 1000mm from concrete soffits" | sum | 1 |  | 0
"Gypframe" aluminium powdercoated white recessed shadowline trim to suspended ceilings
5 | Z-shaped shadowline trim | sum | 1 |  | 0
PARTITIONS ETC.
Gypsum plasterboard drywall system consisting of 162mm drywall steel studs at 600mm centres fixed into bottom and top track with two layers of Rhinoboard Firestop db 15mm on both sides fixed with drywall screws and with 102mm Isover Cavity bat 14kg/m3 insulating
6 | Partitions 3m high with top and bottom tracks plugged. Contractor's price to include all abutments, T- intersections, necessary shopfronts, etc. | sum | 1 |  | 0
Doors
7 | Extra over drywall partition for 40mm glazed aluminium single door (various sizes) hung to and including standard natural anodised aluminium door frame to comply with SANS 10400 Part N, (Note: glazing to be frosted) | sum | 1 |  | 0
8 | Ditto double door (various sizes) | sum | 1 |  | 0
9 | Extra over drywall partition for 40mm glazed aluminium single door and fixed sidelight (various sizes) hung to and including standard natural anodised aluminium door frame (safety glazing to comply with SANS 10400 Part N), etc. (Note: glazing to be frosted) | sum | 1 |  | 0
10 | Ditto double door (various sizes) | sum | 1 |  | 0
TOILET PARTITIONS
Vitreous enamelled steel sheet bonded to wood toilet partition system in natural anodised aluminium channel framing sections
11 | Partitions of varied sizes | sum | 1 |  | 0
12 | Suitable doors including standard ironmongery | sum | 1 |  | 0
Skirtings:
13 | 100 x 3mm Natural anodised aluminium skirtings fixed to drywall partitions | sum | 1 |  | 0
ACTIVITY NO. 4
FLOOR COVERINGS
VINYL FLOOR COVERINGS
Floor sheeting fixed with acrylic adhesive with joints welded with a fully flexible welding rod to provide a continuous finished surface:
1 | On floors | sum | 1 |  | 0
CARPET TILES
Tufted multi scroll loop pile Heavy Commercial carpet tiles fixed with approved adhesive in strict accordance with the manufacturer's instructions:
2 | On floors | sum | 1 |  | 0
ACTIVITY NO. 5
IRONMONGERY
HINGES
1 | Aluminium wc indicator bolt with emergency release. | sum | 1 |  | 0
LOCKS
2 | Four lever look upright mortice lock | sum | 1 |  | 0
Supply and fit ISEO security locks:
3 | Locks ref F9000 and install as per manufacturers instructions | sum | 1 |  | 0
HANDLES
4 | Spring-loaded aluminium lever handles on suitable backplate | sum | 1 |  | 0
5 | Art 883/63 132mm aluminium pull handle | sum | 1 |  | 0
PUSH PLATES AND KICKING PLATES
6 | Aluminium push plate | sum | 1 |  | 0
BATHROOM FITTINGS
7 | Suitable grab rail plugged (various sizes) | sum | 1 |  | 0
9 | Paper towel dispenser | sum | 1 |  | 0
10 | Brushed Stainless Steel 1.2 Litre lockable Soap Dispenser | sum | 1 |  | 0
11 | Hand dryer plugged | sum | 1 |  | 0
12 | Stainless Steel standard wall Waste bin | sum | 1 |  | 0
13 | Anti theft toilet roll holder | sum | 1 |  | 0
SUNDRIES
14 | Aluminium door stop | sum | 1 |  | 0
15 | Stainless steel hat and coat hook with rubber buffer | sum | 1 |  | 0
SIGNAGE
16 | Provide the monetary allowance of R 200 000,00 (Two Hundred Thousand Rand only) for the supply and installation of signage | Item | 1 |  | 0
ACTIVITY NO.6
METALWORK
HOT DIPPED GALVANISED STEEL GRILLE GATES
Galvanised steel grille gate with New Clear-Vu or Betafence panel (or equal and approved) screen,
1 | Single grille gate 1089 x 2660mm high overall | sum | 1 |  | 0
ALUMINIUM VENETIAN BLINDS
Supply and fit 50mm Aluminium Venetian Blinds
2 | Blinds (various sizes to suite) | sum | 1 |  | 0
SERVICING OF ALUMINIUM WINDOWS
Servicing of existing aluminium windows
3 | Repairs and servicing aluminium windows. | sum | 1 |  | 0
ACTIVITY NO. 7
PLASTERING
SCREEDS
Screeds on concrete
1 | Self leveling screeds to receive new finishes | sum | 1 |  | 0
INTERNAL PLASTER
Cement plaster on brickwork
2 | On walls and narrow widths | sum | 1 |  | 0
3 | On walls in patching | sum | 1 |  | 0
ACTIVITY NO. 8
TILING
Glazed ceramic tiles fixed with adhesive to plaster (color by end user):
1 | On walls and narrow widths | sum | 1 |  | 0
Ceramic/porcelain tiles fixed with adhesive to concrete/screed (color by end user):
2 | On landings and floors | sum | 1 |  | 0
ACTIVITY NO. 9
PLUMBING AND DRAINAGE
SANITARY FITTINGS
Ceramic fireclay
1 | Basin 450 x 350mm White ceramic fireclay counter basin with one taphole and integrated overflow | sum | 1 |  | 0
2 | Hammonds brazil close-coupled WC pan, duraplast soft close seat & mechanis. | sum | 1 |  | 0
3 | White vitreous china floor mounted paraplegic washdown suite comprising 90 degree outlet pan and matching 9 litre cistern including heavy duty lid, fitments, etc. with purpose-made chromium plated side mounted flush lever, bedded in 4:1 cement mortar on and screwed to concrete floors | sum | 1 |  | 0
4 | Urinal 400 x 300 including brackets spreader and waste white vitreous china wall mounted urinal including 38mm chromium plated domical grating and chromium plated top inlet spreader and exposed flush valve including flushpipe and fittings, fitted on and including two hanger brackets plugged and screwed to wall | sum | 1 |  | 0
Stainless steel domestic inset sinks, etc.
5 | Single bowl sink 975 x 500mm with one bowl including cutting taphole | sum | 1 |  | 0
6 | Double bowl sink and drainers size 1500 x 535mm including cutting two tapholes | sum | 1 |  | 0
WASTE UNIONS ETC
Waste unions etc.
7 | 32mm Basin waste union | sum | 1 |  | 0
8 | 38mm Sink waste union | sum | 1 |  | 0
TRAPS ETC.
uPVC:
9 | 50 x 50 x 300mm sink combination for double bowl | sum | 1 |  | 0
Chromium plated:
10 | Standard Bottle trap including tailpipe and bung | sum | 1 |  | 0
TAPS, VALVES, ETC
Pillar taps, valves, etc,
11 | 15mm Chrome plated metering stop tap | sum | 1 |  | 0
12 | Basin Mixer | sum | 1 |  | 0
14 | Flushmaster Junior urinal flush valve | sum | 1 |  | 0
Mixers:
15 | 15mm Chrome plated wall-type sink mixer with overarm swivel outlet | sum | 1 |  | 0
SANITARY PLUMBING
uPVC pipes
16 | 40mm Pipes | sum | 1 |  | 0
17 | 50mm Pipes | sum | 1 |  | 0
18 | 110mm Pipes | sum | 1 |  | 0
Extra over uPVC pipes for fittings
19 | 40mm Bend | sum | 1 |  | 0
20 | 50mm Bend | sum | 1 |  | 0
21 | 50mm Reducer | sum | 1 |  | 0
22 | 40mm Junction | sum | 1 |  | 0
23 | 50mm Inverted junction | sum | 1 |  | 0
24 | 110mm Reducing junction | sum | 1 |  | 0
25 | Testing of waste pipe system | Item | 1 |  | 0
WATER SUPPLIES
Class II copper pipes
26 | 15mm Pipes | sum | 1 |  | 0
27 | 22mm Pipes | sum | 1 |  | 0
28 | 28mm Pipes | sum | 1 |  | 0
Extra over class II copper pipes for capillary fittings
29 | 15mm Fittings | sum | 1 |  | 0
30 | 22mm Fittings | sum | 1 |  | 0
31 | 28mm Fittings | sum | 1 |  | 0
32 | Testing of water pipe system | Item | 1 |  | 0
GEYSER
33 | 10 Litre underbasin geysers. | sum | 1 |  | 0
ACTIVITY NO. 10
GLAZING
MIRRORS
6mm Silvered float glass copper backed mirrors with polished edges fixed with double sided adhesive tape:
1 | Mirror 300 x 600mm high | sum | 1 |  | 0
ACTIVITY NO. 11
PAINTING
PREPARATORY WORK TO EXISTING WORK
Previously painted plastered surfaces:
Surfaces shall be thoroughly washed down and allowed to dry completely before any paint is applied. blistered or peeling paint shall be completely removed and cracks shall be opened, filled with a suitable filler, and finished smooth.
Previously painted metal surfaces
Surfaces shall be thoroughly rubbed and cleaned down. Blistered or peeling paint shall be completely removed down to bare metal
Previously painted wood surfaces:
Surfaces shall be thoroughly cleaned down. Blistered or peeling paint shall be completely removed and cracks and crevices shall be primed, filled with suitable filler and finished smooth.
PAINTWORK ON NEW WORK
ON FLOATED PLASTER
Prepare surfaces and remove all loose material, apply one coat plaster primer and two coats pure acrylic paint:
1 | On interior wall | sum | 1 |  | 0
2 | On ceilings | sum | 1 |  | 0
ON PLASTER BOARD
Prepare surfaces and remove all loose material, apply one coat plaster primer and two coats pure acrylic paint:
3 | On ceiling and cornices | sum | 1 |  | 0
ON FIBRE-CEMENT, ETC
Prepare and apply one coat plaster primer and two coats pure acrylic paint
4 | On drywall partitions | sum | 1 |  | 0
ON METAL
Prepare surfaces and remove all loose material, dust, grease, salts and contamination with decreaser, rinse and apply one coat metal primer and two coats pure acrylic paint on galvanised steel
5 | On door frames | sum | 1 |  | 0
6 | On grille gates | sum | 1 |  | 0
7 | On rails, bars, pipes, etc | sum | 1 |  | 0
ON WOOD
Prepare and apply one coat wood primer, one undercoat and two coats enamel paint on:
8 | On doors | sum | 1 |  | 0
9 | On skirting, rails, etc. not exceeding 300mm girth | sum | 1 |  | 0
ON EXISTING PAINTED PLASTER
Remove any loose and flaking residue by means of wire brushing, wash with sugar soap or weak spirits of salts, open up cracks and make good with polyfilla filler sanded smooth, apply one coat approved alkali resistant primer, one undercoat and two coats heavy duty light coloured enamel paint
10 | On interior walls | sum | 1 |  | 0
ON EXISTING SMOOTH CONCRETE
Prepare surfaces and remove all loose material, rinse, fill holes and cracks with flexible crackfiller, apply one coat plaster primer and two coats acrylic paint:
11 | On ceiling and beams | sum | 1 |  | 0
ON EXISTING PAINTED WOOD
Remove any loose and flaking residue by means of wire brushing, sand down, wash with sugar soap or weak spirits of salts, rinse and apply three coats polyurethane clear varnish on existing varnished surfaces:
12 | On interior doors | sum | 1 |  | 0
SECTION SUMMARY
1 | ACTIVITY 1: Waterproofing
2 | ACTIVITY 2: Carpentry and Joinery
3 | ACTIVITY 3: Ceilings Partitions and Access Flooring
4 | ACTIVITY 4: Floor Coverings
5 | ACTIVITY 5: Ironmongery
6 | ACTIVITY 6: Metalwork
7 | ACTIVITY 7: Plastering
8 | ACTIVITY 8: Tiling
9 | ACTIVITY 9: Plumbing and Drainage
10 | ACTIVITY 10: Glazing
11 | ACTIVITY 11: Paintwork
TOTAL CARRIED FOR FINAL SUMMARY

## Provisional sums
ITEM NO |  | UNIT | QUANTITY | RATE | AMOUNT
PROVISIONAL SUMS
ACTIVITY NO. 1
| ELECTRICAL SERVICES |  |  |  |  | Provisional
1 | Provide the monetary allowance of R 14 572 964.00 (Fourteen Million Five Hundred and Seventy Two Thousand Nine Hundred and Sixty Four Rand only) for the Electrical Services | Item | 1 |  | 14572946
2 | Allowance for profit and attendance by the Main Contractor | %
ACTIVITY NO. 2
ELECTRONIC SERVICES
1 | Provide the monetary allowance of R 24 520 000.00 (Twenty Four Million Five Hundred and Twenty Thousand) for Data Networks | Item | 1 |  | 24520000
2 | Allowance for profit and attendance by the Main contractor | %
3 | Provide the monetary allowance of R 8 928 000.00 (Eight Million Nine Hundred and Twenty Eight Thousand rand only) for Fire Detection and Evacuation/Public Address Systems | Item | 1 |  | 8928000
4 | Allowance for profit and attendance by the Main contractor | %
5 | Provide the monetary allowance of R 8 682 500.00 (Eight Million Six Hundred and Eighty Two Thousand rand only) for CCTV Surveillance & Access Control | Item | 1 |  | 8682500
6 | Allowance for profit and attendance by the Main contractor | %
7 | Provide the monetary allowance of R 7 418 250.00 (Seven Million Four Hundred and Eighteen Thousand Two Hundred Fifty rand only) for Board Room Audio-Visual and Conferencing Systems | Item | 1 |  | 7418250
8 | Allowance for profit and attendance by the Main contractor | %
ACTIVITY NO. 3
MECHANICAL SERVICES
1 | Provide the monetary allowance of R 15 796 560.00 (Fifteen Million Seven Hundred and Ninty Six Thousand Five Hundred and Sixty rand only) for HVAC installation for the 3rd, 8th, 9th & 10th Floors | Item | 1 |  | 15796560
2 | Allowance for profit and attendance by the Main contractor | %
ACTIVITY NO. 4
OFFICE FURNITURE
1 | Provide the monetary allowance of R 20 797 724.00 (Twenty Million Seven Eight Hundred and Ninety Seven Thousand Seven Hundred and Twenty Four rand) for the provission and installation of office furniture for the 3rd, 8th, 9th & 10th Floors | Item | 1 |  | 20797724
2 | Allowance for profit and attendance by the Main contractor | %
ACTIVITY NO. 5
BUILDING WORKS
1 | Provide the monetary allowance of R 3 500 000.00 (Three Million Five Hundred Thousand rand) for Sundry Builders Work for the 3rd, 8th, 9th & 10th Floors | Item | 1 |  | 3500000
2 | Provide the monetary allowance of R 3 540 000.00 (Three Million Five Hundred and Forty Thousand rand) for the Hoisting of buidling materials, rubble, etc to and from the working areas for the 3rd, 8th, 9th & 10th Floors | Item | 1 |  | 3540000
SECTION SUMMARY
1 | ACTIVITY 1: Electrical Services
2 | ACTIVITY 2: Electronic Services
3 | ACTIVITY 3: Mechanical Services
4 | ACTIVITY 4: Office Furniture
5 | ACTIVITY 5: Building Works
TOTAL CARRIED FOR FINAL SUMMARY

## Design & Monitoring
ITEM NO |  | UNIT | QUANTITY | RATE | AMOUNT
DESIGN & MONITORING
ACTIVITY NO. 1
| DESIGN CONSULTANTS |  |  |  |  | Provisional
Note: Design team to be managed by and paid by the contractor. All disciplines are perform from stage 1 to stage 7 of the FIPDM. All tendered resources must be Professionally Registered
1 | Architects [Pr Arch]
2 | Civil and Structural [Pr Eng or Pr Tech Eng]
3 | Mechanical [Pr Eng or Pr Tech Eng]
4 | Electrical [Pr Eng or Pr Tech Eng]
5 | OHS Officer [SACPMP Professionally Registered]
ACTIVITY NO. 2
PROVISIONAL SUMS
MONITORING CONSULTANTS:
Note: Monitoring team to be managed by and represent the client and be independent of the contractor. All disciplines are to perform from stage 1 to stage 7 of the FIPDM. All resources must be Professionally Registered
1 | Quantity Surveyor/PA [PrQS] | Item | 1 | 2937800
2 | OHS Agent [SACPMP Professionally Registered] | Item | 1 | 1457800
3 | Clerk of Works [Diploma or B. Degree Built Environment_ Civil or Building with 5years min experience] | Item | 1 | 1135160
SECTION SUMMARY
1 | ACTIVITY 1: Design Consultants
2 | ACTIVITY 2: Monitoring Consultants
TOTAL CARRIED FOR FINAL SUMMARY